## 6 Assessment Check List (hidden)
SCREENING TOOL: STEP TWO Assessment Checklist; STEP THREE Risk Assessment Analysis STEP FOUR Timeframe STEP FIVE Work Plan
GENERAL INSTRUCTIONS: Enter your answers in the (yellow) highlighted cells. REMARKS DESCrIBE TE ISSUE.
Please /enter the Name of your system here:
Date: |  | Your Name:
Hazard | Hazard |  | Remarks | Issue No. 1 | Issue No. 2 | Issue No. 3 | Issue No. 4 | Issue No. 5 | Issue No. 6
No.
Module 1 Drinking Water Source
1.1 | Location & Characteristics | Is source capture area subject to risks by loss of physical integrity? |  | 9 | 10 | 11 | 12 | 13
1.2 | Potential Influence within 30 m | Potential of source contamination within 30 m? |  | 14
1.3 | Potential Influence within 100m | Potential of source contamination within 100 m? |  | 15
1.4 | Potential Influence Beyond 100m | Potential of source contamination within 300 m? |  | 16
1.5 | Impact of Climate & Groundwater Table | Is source adversely impacted by climate or ground water table? |  | 17 | 18 | 19 | 20
1.6 | Sanitary Condition & Location of Source Capture | Is source capture subject to unsanitary conditions? |  | 21 | 22-23 | 24 | 25-26 | 27-28 | 29
Module 1 Sub Total
Module 2 Source Contaminant Inventory
2.1 | Naturally Occurring Sources | Is source adversely impacted by high physical or chemical parameters? |  | 30 | 31
2.2 | Agricultural & Wildlife | Are there pastures, feedlots or extensive wildlife impacts on source? |  | 32 | 33 | 34
2.3 | Forestry & Highways | Is there an erosion, leachate, hydrocarbon, salts, turbidity impact? |  | 35
2.4 | Recreational | Will boating, swimming, camping w/ limited facilities impact? |  | 36
2.5 | Residential - Urban | Will lawn fertilizers, pets, parks, surface runoff impact source? |  | 37
2.6 | Municipal Infrastructure | Do storm runoff, sewage treatment, landfill discharge impact? |  | 38 | 39
2.7 | Commercial Sources | Do airports, service stations, marinas, car washes impact? |  | 40
2.8 | Industrial | Do railroad, manufacturing, or material stockpile impact? |  | 41 | 42
2.9 | Resource Development | Do oil & gas, mining, saw mill, or wood preserving impact? |  | 43
2.1 | Paints, Herbicides, Toxic Waste | Do spills or unscheduled discharges impact the source? |  | 44
Module 2 Sub Total
Module 3 Small Water Supply Elements
3.1 | Physical & Operational Size | Will the source limit meet the 20 yr design demand? |  | 45
3.2 | Source Construction | Will construction of source adversely impact water quality? |  | 46 | 47 | 48
3.3 | Treatment Facilities | Will treatment facilities adversely influence water quality? |  | 49 | 50 | 51 | 52 | 53 | 54
3.4 | Storage Facilities | Will lack of capacity, integrity adversely impact system? |  | 55 | 56 | 57 | 58 | 59
3.5 | Supply & Distribution Pumps | Do pump age, capacity, condition adversely impact delivery of water? |  | 60 | 61 | 62 | 63
3.6 | Distribution System Piping | Will pipe type, condition, size limit ability to supply water? |  | 49: 64; 50: 65; 51: 66
3.7 | Power Source | Does power reliability, adequacy & security limit system operation? |  | 49: 67; 50: 68
3.8 | Backup & Standby Facilities | Does the lack of or condition hinder treatment system operation? |  | 49: 69; 50: 70; 51: 71
3.9 | Controls & Monitoring Equipment | Is system adversely impacted by lack of valves, gauges, bypasses, sampling taps, & monitoring equipment? |  | 72 | 73 | 74 | 75
Module 3 Sub Total
Module 4 Management, Operation & Maintenance
4.1 | Line of Responsibility | Does it limit efficient management & operation and maintenance? |  | 49: 76
4.2 | Clear Assignment of Functions | Does assignment(or lack of) adversely impact regular O & M? |  | 49: 77
4.3 | Compliance with Best Practices | Are best practices followed in system modification, new services? |  | 49: 78
4.4 | Customer Complaints | Are complaints acknowledged, addressed, and followed up? |  | 49: 79
4.5 | Are Facilities in Compliance | Are minimum requirements & reporting being met? |  | 49: 80
4.6 | Operator Training | Does lack of operator training adversely impact O & M? |  | 81 | 82 | 83 | 84
4.7 | Financial Planning & Administration | Does lack of budget limit repairs, training, routine O & M? |  | 49: 85
4.8 | Operating Standards & Procedures | Are there management restrictions on regular O & M? |  | 49: 86; 50: 87
4.9 | Cross Connection Control Plan | Is it in practice, how is it handled in the distribution system? |  | 49: 88; 50: 89
4.1 | System Monitoring Processes | Do monitoring processes adversely impact overall performance? |  | 49: 90; 50: 91; 51: 92
Module 4 Sub Total
Module 5 Water Quality & Availability
5.1 | Raw & Finished Water Quality | Is it difficult to comply with mandatory & recommended standards? |  | 93 | 94 | 95 | 96
5.2 | Public Notices | Do boil water or public notices happen for this system? |  | 49: 97; 50: 98
5.3 | Filtration of Water | Does filtration of this water maintain turbidity < 1.0 NTU? |  | 49: 99; 50: 100; 51: 101
5.4 | Adequacy of Disinfection System | Are bacteriological samples positive for E. Coli or Coliform? |  | 49: 102
5.5 | Current Treatment Practices | Are current treatment adequate to meet water quality requirements? |  | 103-104 | 105 | 106 | 107-108 | 109 | 110
5.6 | Presence of Chlorine Residual | Is a free chlorine residual of 0.2 mg/l maintained in distribution? |  | 102 103-104: 111
5.7 | Adequacy of Distribution Pressure | Is minimum pressure > 150 kPa (21.7 psi) at end of distribution? |  | 102 103-104: 112
5.8 | Adequacy of Treatment Capacity | Can treatment system meet both present & future demands? |  | 102 103-104: 113; 102 105: 114
5.9 | Monitoring & Reporting | Are monitoring & reporting requirements being met? |  | 102 103-104: 115
5.1 | Customer Satisfaction | Are the customers needs adversely impacted by water system? |  | 102 103-104: 116
Module 5 Sub Total
Modular 6 Financial Capacity & Governance
6.1 | Management/Owner Qualifications | Is management trained/qualified to manage? |  | 102 103-104: 117
6.2 | Operator Qualifications | Is operator trained/certified for level of work carried out? |  | 102 103-104: 118
6.3 | Accountability Level | Is there one person accountable for providing safe drinking water? |  | 102 103-104: 119
6.4 | Long Term Capital Plan | Is there a plan in place for replacement, expansion, up grading? |  | 102 103-104: 120
6.5 | Financial Capacity | Is there a financial plan, record keeping, etc. in place? |  | 102 103-104: 121
6.6 | Governance Decisions | Does water quality and quantity govern decisions? |  | 102 103-104: 122
6.7 | Financial Capability | Can management provide necessary improvements as required? |  | 102 103-104: 123
6.8 | System Growth Financial Demands | Will demands on system be more than finances can satisfy? |  | 102 103-104: 124
6.9 | System Growth Supply Demands | Will supply, treatment, storage, distribution be adequate for future? |  | 102 103-104: 125
6.1 | System Growth, Operations | Will there be adequate skilled operators available for future needs? |  | 102 103-104: 126
Module 6 Sub Total
If you are entering your data entries manually transfer them now to the data sheet in Chapter 7 - "Next Steps - Where to go from here"

## Hazard Assessment
Water System Assessment
FORM ONE: Hazard Assessment
SAVE YOUR WORK OFTEN, AND PRINT THIS PAGE FOR YOUR RECORDS.
• Enter detailed answers to the following questions in the large yellow boxes. • Enter specific hazards in the smaller yellow boxes. Two hazards (use only space provided) may be identified for each water source (up to three). • Where more than two hazards exist associated with one question other blank yellow cells on the same column may be used.
Descriptive Information | [7 empty] | Source # /System | Specific Hazard #1 | Specific Hazard #2
Water Supply System Contact Information
1 | Date of assessment (yyyy-mm-dd)
2 | Name of the water supply system
The name referred to in this question is the name that appears on the Operating Permit.
3 | Location of the water supply system
4 | Name and address of the owner of this water supply system
Legal name of owner
Street:
| City: |  |  |  | Postal Code:
| Phone #: |  |  |  | Cell phone #:
| Fax #: |  |  |  | Other #:
E mail address:
5 | Contact person(s) for the management/administration (if different then the owner)
Name:
Street:
| City: |  |  |  | Postal Code:
| Phone #: |  |  |  | Cell phone #:
| Fax #: |  |  |  | Other #:
E mail address:
6 | Operator (if different then the owner)
Name:
Street:
| City: |  |  |  | Postal Code:
| Phone #: |  |  |  | Cell phone #:
| Fax #: |  |  |  | Other #:
E mail address:
7 | Person completing this assessment
Name:
Employer of the assessor
Street:
| City: |  |  |  | Postal Code:
| Phone #: |  |  |  | Cell phone #:
| Fax #: |  |  |  | Other #:
E mail address:
Ownership / Management Structure (Governance)
8 | What type of ownership/management structure do you have for your water supply system (the following are examples)?
| Regional District |  | Water Users Community |  |  | BC Government Owned
| Municipality |  | Private Water Utility |  |  | Societies
| Improvement District |  | Private (not utility) |  |  | Strata Corporation
Other (Specify):
Accountability Level
9 | Who is the one person accountable for the provision of safe drinking water?
System
10 | Does the system have a clearly documented governance structure with reference to how decisions are made?
System
11 | Is the decision making structure in the best interest for water quality and quantity needs?
System
Drinking Water Source
The following questions should be answered for each well / surface source (including abandoned or back-up sources).
Location & Characteristics
12 | What is the name and/or number of the well or surface water source (for more than three sources please fill in a second worksheet)?
| Source 1 |  |  | Source 2 |  |  | Source 3
13 | What is the location of the well or surface water source?
(i.e. behind the school in the pump house, or, 30m southwest of
intersection of Amber Street & 4th Avenue, or address)
| Source 1 |  |  | Source 2 |  |  | Source 3
14 | What are the GPS (Global Positioning System) coordinates (if available)?
North | Source 1 |  |  | Source 2 |  |  | Source 3
West
Elevation
15 | Do you know the approximate boundary of the contributing watershed? Are you aware of the natural and human influence in this area?
Surface water: the height of land or topographic boundary upstream of the intake. Groundwater: the location of the contributing aquifer.
#1
#2
#3
Water Source Contamination
Look at the area surrounding the source. Do you see or know of any activities, or natural conditions, occurring in that area that could lead to contamination?
List each of the potential contaminants for each source. Note, supplier may not have control over watershed influences, but nevertheless, should be aware of the hazards.
Consider the proximity and the potential for connectivity with the water supply.
16 | Are there potential biological contaminants resulting from domestic and wild animals?
Manure storage or application
Livestock at large, pasture or feedlot, dog kennels
Wildlife (deer, bear, beaver, cougars, ducks, geese, other birds, rats, mice...)
Other animal/agricultural influence
#1
#2
#3
17 | Are there potential biological or chemical contaminants resulting from upslope activities?
Agriculture lands with pesticide applications
Road related erosion (turbidity), salts, fuel spills
Forest harvesting
Mining/oil & gas drilling, infrastructure, exploration
Saw milling, wood preserving
Recreation (e.g. boating, swimming, camping, snowmobiling, 4X4, ATV)
#1
#2
#3
18 | Are there potential biological or chemical contaminants from surrounding infrastructure?
Lawn fertilizers, pesticides in parks, homes, golf courses...
Pets and other animal impacts
Storm runoff, sewage treatment, landfill discharge
Septic systems, (including your own or those on nearby properties)
Airports, service stations, marinas, car washes
Railroad, manufacturing, material stockpile
Chemical or fuel storage
Paints, Herbicides, Toxic Waste
#1
#2
#3
19 | Is there any other potential Influence within 30 m not identified above?
#1
#2
#3
20 | Is there any other potential Influence between 30-100m not identified above?
#1
#2
#3
21 | Is there any other potential Influence beyond 100m not identified above?
#1
#2
#3
Intake Contamination - Surface System
22 | For lake intakes, has the positioning considered the following:
Off the muddy bottom.
Below the summer thermocline (stable temperature and calmer water).
Away from the shoreline.
#1
#2
#3
23 | For intakes located adjacent to a river, has the positioning considered the following:
Water currents that might threaten the safety of the structure.
Location of navigable channels.
Ice flows.
Formation of sandbars, gravel beds or deposits.
Potential flooding.
#1
#2
#3
24 | Are there signs posted indicating the area is a drinking water source?
#1
#2
#3
25 | Is the intake positioned in a pool or depression so there will be water available during periods of low stream or river flow?
#1
#2
#3
26 | Is there an infiltration gallery screening and buffering the intake from the river?
#1
#2
#3
27 | Is there a protective cover over the inlet location to avoid falling debris, animal contamination and vandalism?
#1
#2
#3
28 | Is there screening over the intake pipe of a small enough diameter to block any foreign objects (including fish) suspended in the intake pool or lake?
#1
#2
#3
29 | Is the screening over the intake pipe tough enough (sufficient gauge wire) to withstand impact from debris?
#1
#2
#3
30 | Is there regular inspection and maintenance of the intake (changes that could affect water quality, screens in place, cleared of debris...)
#1
#2
#3
Groundwater Contamination - Wells
31 | Is the well possibly ground water under the direct influence of surface water (GUDI/GARP)? If so, does treatment reflect this?
#1
#2
#3
32 | Is this well located within 30 meters of any surface water (lake, stream, pond), is there any ability for the surface water to enter the well?
#1
#2
#3
33 | Is there a layer thicker than 3 meters (10 feet) of clay, silt, till or hardpan above the well screen or well intake for this well?
Does this extend far enough away from the well to prevent surface water contact?
#1
#2
#3
34 | Are there other wells (including abandoned) that could be connected to the active system?
#1
#2
#3
35 | Is the aquifer vulnerable to contamination? The following resource could help you learn about your aquifer:
Local well drillers
Local aquifer mapping
Water resource atlas
#1
#2
#3
36 | Which of the following best describes the type of aquifer that this well draws water from, and as a result could there be contaminants in this water?
A. The aquifer is located in unconsolidated materials (sand and gravel). B. The aquifer is located in bedrock. C. Unsure
#1
#2
#3
37 | Is the aquifer artesian? If so, are there controls on it?
#1
#2
#3
38 | Is the aquifer feeding the well susceptible to salt water intrusion?
#1
#2
#3
39 | Is the well potentially impacted by flooding (e.g. located in a depression or flood-zone of a river or lake)? Groundwater at risk of containing pathogens (GARP)
#1
#2
#3
40 | Does the seasonal fluctuation in the water level ever potentially fall below the pumping level (i.e. Periods of drought inadequate water availability)?
#1
#2
#3
Well Head Contamination
41 | Is the well dug or drilled?
#1
#2
#3
Dug Well
42 | For a dug well, is there a locked and sealed cover (gasket to prevent mice and insects entering)?
#1
#2
#3
Drilled Well
43 | Does this well have a screened, vented well cap securely attached? Or Is the wellhead connected directly to the distribution pipe?
#1
#2
#3
44 | Does this well have a surface seal verified to be in good condition?
#1
#2
#3
45 | Does this well have a pitless adapter?
#1
#2
#3
46 | Is there a gap between the well casing and the surrounding ground?
#1
#2
#3
47 | Does the well casing stick up at least 30centimeters (12inches) above ground level?
#1
#2
#3
48 | If the well casing is in a sub-surface pit, is the bottom of the pit drained?
#1
#2
#3
Water System Elements
Storage Facilities
49 | Are there any tanks used to store finished water? What is the size/volume?
System
50 | Are the storage tanks covered, structurally sound and secure (locked)?
System
51 | Is there a minimum capacity of 1 day at maximum day demand?
System
52 | Are all openings, such as vent pipes, overflows and drains screened?
System
53 | Do the storage tanks include design features that encourage adequate daily water turnover and circulation?
System
54 | Are there drains or overflows on the storage tank or reservoir and are they screened?
System
55 | Is the tank(s) set up for regular cleaning?
System
56 | Is there a dedicated line to the reservoir to avoid short circuiting, or does water travel in and out using the same line?
System
57 | Is the tank manually filled or automatically filled on demand? Is the on demand system working reliably?
System
Pumps (Supply & Distribution ) and Pressure Tanks
58 | Has the pump(s) been installed by a qualified installer?
#1
#2
#3
59 | Have automated sensors been installed to alert the operator and override the pump if the intake water level falls too low?
#1
#2
#3
60 | Is the pump(s) adequately sized for the maximum daily demand (if you don't have sufficient reservoir storage)?
#1
#2
#3
61 | Can the pump re-fill the reservoir on the highest demand day?
#1
#2
#3
62 | Can distribution pumps supply peak hourly flow and pressure?
#1
#2
#3
63 | Have sensors been installed on the lines to override the distribution pump in the event of reduced pressure?
#1
#2
#3
64 | Is a back-up pump available for servicing main pump(s) (supply and distribution)?
#1
#2
#3
65 | Is a back-up pressure tank available for servicing the main tank?
#1
#2
#3
66 | Are all pressure switches regularly updated?
System
67 | Is the pump house secure and sealed against the rain and rodents?
System
Distribution System Piping
68 | Are distribution mains adequately sized to supply flow and pressure (during fire flow conditions where applicable)?
System
69 | Is minimum distribution system pressure adequate (275 kPa (40 psi) during peak hour demand, above150 kPa (21.7 psi) during maximum day demand?
System
70 | Are all pipes constructed of approved material?
System
71 | Are all pipes in good condition, free of leaks, corrosion, etc.?
System
72 | Do you have accurate mapping of all underground distribution piping?
System
73 | Are sufficient shut-offs installed to facilitate isolation and detection of leaks?
System
Water System Maintenance
74 | Is the distribution system looped? If so is there a regular flushing schedule?
System
75 | Does the distribution system have dead ends? If so, is the blow-off valve opened regularly?
System
76 | Is the entire distribution system designed to be flushed regularly?
System
77 | Are replacement part and supplies available for routine maintenance?
System
78 | Is a preventative maintenance plan in place and functioning?
System
Cross Connection Control
79 | Do all businesses have cross-connection devises (backflow preventers at each connection)?
System
80 | Do all homes have backflow preventers on each connection to the system?
System
81 | Is there a cross connection program in place, and followed?
System
82 | Are visual inspection carried out throughout the system to identify and prevent cross connection hazards?
System
Power Source
83 | Is the power supply adequate, tamper proof and up to current code?
System
84 | Is there an emergency plan in place for power failures (e.g. Back-up generator with enough power to run all aspect of the system)?
System
Treatment
85 | Is the water supply at risk of containing pathogens?
#1
#2
#3
86 | Does the raw water turbidity ever exceed 1.0 NTU?
#1
#2
#3
87 | If you are not treating and the answer to either of the previous two questions was yes, are you considering treatment?
For treatment options consult your DWO. The following are some examples of treatment:
Aeration, coagulation, sedimentation, clarification.
Filtration: 5 or 1 micron cartridge, slow sand, chemical/rapid sand, multimedia filter with backwashing, activated carbon, nanofiltration, reverse osmosis.
Disinfection: UV, ozone, chlorine.
Other: Ion exchange, softening, chemical stabilization with limestone contactor.
System
88 | Is the water filtered before disinfection?
System
89 | Is the water treated at point of use (POU) or point of entry (POE)? If yes, is there health approval for the system?
System
Filtration of Water
90 | If the source water is treated by filtration, what type is used? (e.g. chemical assist sand, slow sand, direct filtration...)
91 | If filtration is the only treatment, is it effective in removing all disease causing organisms?
System
92 | Is post filtration water turbidity always less than 1.0 NTU?
System
93 | Are filters and other system components maintained regularly (reflective of periods of higher turbidity)?
System
Disinfection of Water
94 | Is the source water disinfected by a method, such as UV, Ozone or chlorine? (Two forms of treatment reduces risk)
System
95 | For UV or Ozone treatment, is a regular maintenance schedule followed for bulbs, gases, other system components?
System
96 | For chlorine treatment, is the system designed to ensure adequate contact time?
System
Treatment Control & Monitoring
97 | Are there backup treatment units to stand in when main units are serviced?
System
98 | Are valves installed with unit bypasses to enable servicing of units?
System
99 | Are sampling taps installed before and after treatment units?
System
100 | For chlorinated systems, is there an approved calibrated testing kit used regularly for monitoring chlorine residuals?
System
101 | Is the free chlorine residual at the far end of the distribution system sufficient?
System
102 | For chlorine treatment, is the contact time monitored and verified as sufficient?
System
103 | Are pressure gauges installed and working both before and after filters?
System
104 | Is instrumentation installed to measure treated water flow, and operating hours?
System
105 | Does the treatment system have alarms to advise of need for attention (e.g. Pressure gauges for filters, sensors for UVT levels, low chlorine)?
System
Water Quality and Quantity
Source Water Quantity
106 | Is there a secure and reliable source of water to fill the demand of the system throughout the year?
#1
#2
#3
107 | Is there back-up source(s) in case of disruption to the main source?
#1
#2
#3
Raw Water Quality
108 | What is the frequency of pre-treatment source water biological and/or chemical testing?
#1
#2
#3
109 | Do any biological or chemical parameters exceed the Guidelines for Canadian Drinking Water Quality?
#1
#2
#3
Treated Water Quality
110 | What is the frequency of testing treated water for chemical, physical & bacteriological quality?
System
111 | Does the treated water quality meet both minimum and recommended water quality parameters (pathogens, metals, other chemicals)?
System
Boil Water Notices, Water Quality Advisories, Do Not Use Order
112 | Has this system ever had a boil water notice, water quality advisory or do not use order issued?
System
113 | If so, has the cause(s) been appropriately investigated and addressed, or may this situation repeat?
System
114 | Are requirements of the local health unit met for wording content of the notice and method and extent of the distribution?
System
115 | For active or recurring notices, is this assessment being completed with the guidance of the Drinking Water Officer?
System
System Growth Supply Demands
116 | Is your system planning for growth (e.g. the 20 year infrastructure demand)?
System
117 | Will the water system be adequate for the future growth needs?
Water supply volume.
Water storage.
Water pumping capacity.
Water distribution infrastructure.
Water treatment infrastructure.
System
Water System Operation
Water System Permits
118 | Is a construction permit approved for the infrastructure?
System
119 | Is an operating permit approved?
System
120 | Do practices meet all conditions of the operating permit?
System
121 | Do practices meet all requirements of the Drinking Water Protection Act and Regulation?
System
Line of Responsibility
122 | Has management set and implemented a working line of responsibility in operating this facility?
System
123 | Does the assignment (or lack of) clear responsibilities hinder operation and maintenance?
System
Qualifications and Training
124 | Are the operators trained and certified to operate for the level of work done or as directed by the DWO (e.g. In operating permit)?
Small water system certification (some small systems may have no formal requirement, however training is always advised).
List the training completed by each operator.
System
125 | Do the operators receive regular training and upgrading?
System
126 | Will there be adequately skilled operators available for future needs (e.g. any difficulty finding operators with the appropriate level of certification)?
System
System Monitoring Processes
127 | Are daily, weekly, monthly records reported for all operations?
System
128 | Are the reports reviewed to determine quantity and quality of water?
System
129 | Are corrective actions taken as a result of monitoring records?
System
130 | Do you have a completed Emergency Response Plan?
System
Customer Satisfaction
131 | Are the customer's needs always met for quantity, quality, and pressure?
System
132 | Are customer complaints documented, addressed and followed up?
System
Finances
Financial Capacity
133 | Is there a financial plan with records of expenses and water quantity and quality produced?
System
134 | What is the current user rate structure and what are the user rates?
System
Financial Capability
135 | Is management able to provide funding and commitment for operation and Maintenance?
System
136 | Is management able to provide funding and commitment for necessary improvements?
System
137 | Is the rate structure able to be reactive to unexpected financial circumstances? (adjustable to pay for capital costs)
System
138 | Are you able to shut off water service to clients that are not making payments? Or other forms of penalty?
System
139 | Does the system have insurance? Describe.
System
System Growth Financial Demands
140 | Will future growth of this system be more than finances can satisfy?
System
141 | Has there been application for infrastructure grants or alternative funding or acquisition, amalgamation or collaboration with other water suppliers?
System
Long Term Capital Plan
142 | Is there a capital improvement plan in place for the replacement, expansion, up grading of the system?
System
|  | Water Supply System Owner or Delegate |  |  |  | Date
I have read this completed Assessment and discussed the contents with the water supply system owner or delegate.
|  | Drinking Water Officer |  |  |  | Date
Action Required /
DWO Feedback
Date Assigned
Date By Which Action Must Be Complete

## Risk Rating
FORM TWO: Risk Rating
SAVE YOUR WORK OFTEN, AND PRINT THIS PAGE FOR YOUR RECORDS.
• This form is automatically populated from the results of the Hazard Assessment form. • The likelihood and consequence must be filled in manually for each hazard identified. • The risk rating is automatically generated based on the table in column K through S.
| Name of System: | 0
| Your Name: | 0
| Date: | 0
| Reference No. | Issue | Hazard | Likeli-hood | Consequence | Risk | Source/ | Hazard | Likeli hood | Consequence | Risk
No. | [6 empty] | System
Drinking Water Source
Ownership | 9 | Accountability | 0 |  |  | 0 | System | 0 |  |  | 0 |  | Likelihood Table
| 10 | Governance documented | 0 |  |  | 0 | System | 0 |  |  | 0 | Level | Descriptor | Description |  | Probability of Occurrence in Next 10 Years
| 11 | Decision making structure | 0 |  |  | 0 | System | 0 |  |  | 0 | 1 | Rare | May only occur in exceptional circumstances |  | <10%
Water Source Contaminant | 15 | Watershed Boundary | 0 |  |  | 0 | #1 | 0 |  |  | 0 | 2 | Unlikely | Could occur at some time |  | 10-30%
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0 | 3 | Possible | Will probably occur at some time |  | 31-70%
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0 | 4 | Likely | Will probably occur in most circumstances |  | 71-90%
| 16 | Animal influence | 0 |  |  | 0 | #1 | 0 |  |  | 0 | 5 | Almost certain | Is expected to occur in most circumstances |  | >90%
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 17 | Upslope Activity | 0 |  |  | 0 | #1 | 0 |  |  | 0 |  | Consequence Table
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0 | Level | Descriptor | Description
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0 | 1 | Insignificant | Insignificant impact, no illness, little disruption to normal operation, little or no increase in normal operating costs
| 18 | Surrounding infrastructure | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0 | 2 | Minor | Minor impact for small population, mild illness moderately likely, some manageable operation disruption, small increase in operating costs
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 19 | Other influence within 30m | 0 |  |  | 0 | #1 | 0 |  |  | 0 | 3 | Moderate | Minor impact for large population, mild to moderate illness probable, significant modification to normal operation but manageable, operating costs increase, increased monitoring
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 20 | Other influence 30-100m | 0 |  |  | 0 | #1 | 0 |  |  | 0 | 4 | Major | Major impact for small population, severe illness probable, systems significantly compromised and abnormal operation if at all, high-level monitoring required
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0 | 5 | Catastrophic | Major impact for large population, severe illness probable, complete failure of systems
| 21 | Other influence beyond 100m | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
Intake Contaminant- Surface Water | 22 | Lake intake position | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 23 | River intake position | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0 |  | Risk Table
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0 |  |  |  | Consequence
| 24 | Signage posted | 0 |  |  | 0 | #1 | 0 |  |  | 0 |  |  |  | Insignificant | Minor | Moderate | Major | Catastrophic
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0 |  |  |  | 1 | 2 | 3 | 4 | 5
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0 | Likelihood | Rare | 1 | 1 | 1 | 2 | 3 | 3
| 25 | Intake in pool | 0 |  |  | 0 | #1 | 0 |  |  | 0 |  | Unlikely | 2 | 1 | 1 | 2 | 3 | 4
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0 |  | Possible | 3 | 1 | 2 | 3 | 4 | 4
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0 |  | Likely | 4 | 2 | 3 | 3 | 4 | 4
| 26 | Infiltration gallery | 0 |  |  | 0 | #1 | 0 |  |  | 0 |  | Almost Certain | 5 | 2 | 3 | 4 | 4 | 4
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0 |  |  |  | 1 = Low | 2 = Moderate |  | 3= High | 4 = Very High
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 27 | Intake covered | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 28 | Intake screened | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 29 | Intake screen strength | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 30 | Intake inspection, maintenance | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
Groundwater Contaminant- Wells | 31 | GWUDI well | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 32 | Surface water within 30m | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 33 | Restrictive layer | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 34 | Other wells connected | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 35 | Vulnerable aquifer | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 36 | Aquifer geologic type | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 37 | Artesian aquifer | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 38 | Salt water intrusion | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 39 | Flooding potential | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 40 | Low water level | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 41 | Dug or drilled | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 42 | Covered and locked | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 43 | Screened vented cap | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 44 | Surface seal | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 45 | Pitless adapter | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 46 | Well casing gap | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 47 | Casing 30cm above ground | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 48 | Casing pit drained | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
Storage Facilities | 49 | Storage tank size | 0 |  |  | 0 | System | 0 |  |  | 0
| 50 | Covered and locked | 0 |  |  | 0 | System | 0 |  |  | 0
| 51 | Capacity for 1 day | 0 |  |  | 0 | System | 0 |  |  | 0
| 52 | Openings screened | 0 |  |  | 0 | System | 0 |  |  | 0
| 53 | Water circulation or turnover | 0 |  |  | 0 | System | 0 |  |  | 0
| 54 | Drains or overflows | 0 |  |  | 0 | System | 0 |  |  | 0
| 55 | Regular cleaning | 0 |  |  | 0 | System | 0 |  |  | 0
| 56 | Dedicated line to tank | 0 |  |  | 0 | System | 0 |  |  | 0
| 57 | On demand filling | 0 |  |  | 0 | System | 0 |  |  | 0
Pumps and Pressure Tanks | 58 | Pumps installed properly | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 59 | Pump override sensors | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 60 | Pump size adequate | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 61 | Pump capacity (daily) | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 62 | Pump Capacity (Hourly) | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 63 | Line pressure sensor | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 64 | Back-up pump | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 65 | Back-up pressure tank | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 66 | Pressure switches updated | 0 |  |  | 0 | System | 0 |  |  | 0
| 67 | Secure and sealed pump house | 0 |  |  | 0 | System | 0 |  |  | 0
Distribution System | 68 | Distribution mains size | 0 |  |  | 0 | System | 0 |  |  | 0
| 69 | Minimum delivered pressure | 0 |  |  | 0 | System | 0 |  |  | 0
| 70 | Pipe material | 0 |  |  | 0 | System | 0 |  |  | 0
| 71 | Pipe leaks, corrosion | 0 |  |  | 0 | System | 0 |  |  | 0
| 72 | Underground pipes mapped | 0 |  |  | 0 | System | 0 |  |  | 0
| 73 | Shut-offs for leak detection | 0 |  |  | 0 | System | 0 |  |  | 0
| 74 | Looped system | 0 |  |  | 0 | System | 0 |  |  | 0
| 75 | Blow-offs at dead-ends | 0 |  |  | 0 | System | 0 |  |  | 0
| 76 | System flushing | 0 |  |  | 0 | System | 0 |  |  | 0
| 77 | Parts available for Maintenance | 0 |  |  | 0 | System | 0 |  |  | 0
| 78 | Maintenance plan | 0 |  |  | 0 | System | 0 |  |  | 0
Cross- Connection | 79 | Backflow preventers (business) | 0 |  |  | 0 | System | 0 |  |  | 0
| 80 | Backflow preventers (homes) | 0 |  |  | 0 | System | 0 |  |  | 0
| 81 | Cross connection control program | 0 |  |  | 0 | System | 0 |  |  | 0
| 82 | Cross connection inspections | 0 |  |  | 0 | System | 0 |  |  | 0
Power | 83 | Power source adequate, protected | 0 |  |  | 0 | System | 0 |  |  | 0
| 84 | Back-up power plan | 0 |  |  | 0 | System | 0 |  |  | 0
Treatment | 85 | Risk of pathogens | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 86 | Turbidity over 1 NTU | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 87 | Considering treatment | 0 |  |  | 0 | System | 0 |  |  | 0
| 88 | Filtration installed | 0 |  |  | 0 | System | 0 |  |  | 0
| 89 | POU/POE | 0 |  |  | 0 | System | 0 |  |  | 0
Filtration | 90 | Type of filtration | 0 |  |  | 0 | System | 0 |  |  | 0
| 91 | Filtration alone effective | 0 |  |  | 0 | System | 0 |  |  | 0
| 92 | Filtered water under 1 NTU | 0 |  |  | 0 | System | 0 |  |  | 0
| 93 | Filter maintenance | 0 |  |  | 0 | System | 0 |  |  | 0
Disinfection | 94 | Disinfection type | 0 |  |  | 0 | System | 0 |  |  | 0
| 95 | UV or Ozone maintenance | 0 |  |  | 0 | System | 0 |  |  | 0
| 96 | Chlorine contact time | 0 |  |  | 0 | System | 0 |  |  | 0
Treatment Control & Monitoring | 97 | Back-up treatment units | 0 |  |  | 0 | System | 0 |  |  | 0
| 98 | By-pass valve for maintenance | 0 |  |  | 0 | System | 0 |  |  | 0
| 99 | Sampling taps | 0 |  |  | 0 | System | 0 |  |  | 0
| 100 | Chlorine residual testing | 0 |  |  | 0 | System | 0 |  |  | 0
| 101 | Sufficient residuals | 0 |  |  | 0 | System | 0 |  |  | 0
| 102 | Contact-time monitoring | 0 |  |  | 0 | System | 0 |  |  | 0
| 103 | Pressure gauges | 0 |  |  | 0 | System | 0 |  |  | 0
| 104 | Water flow measurement | 0 |  |  | 0 | System | 0 |  |  | 0
| 105 | Treatment system alarms | 0 |  |  | 0 | System | 0 |  |  | 0
Water Quantity | 106 | Secure water supply all year | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 107 | Back-up source | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
Water Quality | 108 | Source water testing | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 109 | Raw water quality | 0 |  |  | 0 | #1 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #2 | 0 |  |  | 0
|  |  | 0 |  |  | 0 | #3 | 0 |  |  | 0
| 110 | Treated water testing | 0 |  |  | 0 | System | 0 |  |  | 0
| 111 | Treated water quality | 0 |  |  | 0 | System | 0 |  |  | 0
Notices | 112 | Past notices | 0 |  |  | 0 | System | 0 |  |  | 0
| 113 | Notices rectified | 0 |  |  | 0 | System | 0 |  |  | 0
| 114 | Notice wording and distribution | 0 |  |  | 0 | System | 0 |  |  | 0
| 115 | DWO involved in this assessment | 0 |  |  | 0 | System | 0 |  |  | 0
Growth | 116 | 20year infrastructure plan | 0 |  |  | 0 | System | 0 |  |  | 0
| 117 | System adequate for growth | 0 |  |  | 0 | System | 0 |  |  | 0
Permits | 118 | Construction permit | 0 |  |  | 0 | System | 0 |  |  | 0
| 119 | Operating permit | 0 |  |  | 0 | System | 0 |  |  | 0
| 120 | Meeting permit conditions | 0 |  |  | 0 | System | 0 |  |  | 0
| 121 | Meeting Drinking Water Pro Act | 0 |  |  | 0 | System | 0 |  |  | 0
Management & Training | 122 | Working line of responsibility | 0 |  |  | 0 | System | 0 |  |  | 0
| 123 | Responsibility assignment issues | 0 |  |  | 0 | System | 0 |  |  | 0
| 124 | Operator training | 0 |  |  | 0 | System | 0 |  |  | 0
| 125 | Training updated | 0 |  |  | 0 | System | 0 |  |  | 0
| 126 | Training growth plan | 0 |  |  | 0 | System | 0 |  |  | 0
Monitoring | 127 | Regular operating records | 0 |  |  | 0 | System | 0 |  |  | 0
| 128 | Quality / quantity report review | 0 |  |  | 0 | System | 0 |  |  | 0
| 129 | Corrective action taken / planned | 0 |  |  | 0 | System | 0 |  |  | 0
| 130 | Emergency response plan | 0 |  |  | 0 | System | 0 |  |  | 0
Customer | 131 | Customer needs met | 0 |  |  | 0 | System | 0 |  |  | 0
| 132 | Complaints resolution | 0 |  |  | 0 | System | 0 |  |  | 0
Financial Capacity | 133 | Financial plan | 0 |  |  | 0 | System | 0 |  |  | 0
| 134 | Rate structure | 0 |  |  | 0 | System | 0 |  |  | 0
| 135 | Funding available for O&M | 0 |  |  | 0 | System | 0 |  |  | 0
| 136 | Funding for improvements | 0 |  |  | 0 | System | 0 |  |  | 0
| 137 | Rates adjustable | 0 |  |  | 0 | System | 0 |  |  | 0
| 138 | Penalty for non paying customers | 0 |  |  | 0 | System | 0 |  |  | 0
| 139 | Insurance | 0 |  |  | 0 | System | 0 |  |  | 0
| 140 | Finances for growth plan | 0 |  |  | 0 | System | 0 |  |  | 0
| 141 | Infrastructure grant | 0 |  |  | 0 | System | 0 |  |  | 0
| 142 | Capital improvement plan | 0 |  |  | 0 | System | 0 |  |  | 0

## Risk Grouping
FORM THREE: Risk Grouping
SAVE YOUR WORK OFTEN, AND PRINT THIS PAGE FOR YOUR RECORDS.
• This page is an alternative view of the information presented in the Risk Rating sheet. Here the risks are grouped to highlight system areas where there is greater concern.
Name of System: | 0
Your Name: | 0
Date: | 0
Issue | Summary of Hazards |  | Risk Summary
Operations
Ownership | 0, 0, 0, 0, 0, 0 |  | 0
System permits | 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Management & Training | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Monitoring | 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Handling customer complaints | 0, 0, 0, 0 | 0 | 0
Financial capacity | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Financial growth | 0, 0, 0, 0, 0, 0 | 0 | 0
System growth | 0, 0, 0, 0 | 0 | 0
Sub Total |  |  | 0
Source Contaminants
Watershed Boundary and animals | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Resource activity and infrastructure | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Other influence 0-300m | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Intake position | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Intake buffered & in a pool | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Intake Condition | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Signage, inspection & maintenance | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 |  | 0
Sub Total |  |  | 0
Well water contaminants
Surface water influence | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Cross contaminated from other well | 0, 0, 0, 0, 0, 0 | 0 | 0
Aquifer | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Outside aquifer influence | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Well type | 0, 0, 0, 0, 0, 0 | 0 | 0
Covers and seals | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Pitless adapter and casing gap | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Casing position | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Sub Total |  |  | 0
Water System Elements
Storage tank | 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Tank flow and controls | 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Pump installation and sensors | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Pump capacity | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Pump and tank maintenance | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Security | 0, 0 | 0 | 0
Distribution pipes | 0, 0, 0, 0, 0, 0 | 0 | 0
Distribution emergency maintenance | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Routine maintenance | 0, 0, 0, 0, 0, 0 | 0 | 0
Cross connection control | 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Power availability and back-up | 0, 0, 0, 0 | 0 | 0
Sub Total |  |  | 0
Treatment
Need for treatment | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
POE/POU | 0, 0 | 0 | 0
Filtration | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Disinfection | 0, 0, 0, 0, 0, 0 | 0 | 0
Maintenance | 0, 0, 0, 0 | 0 | 0
Disinfectant sampling | 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Pressure, flow and alarms | 0, 0, 0, 0, 0, 0 | 0 | 0
Sub Total |  |  | 0
Water Quality, Quantity, Public Notices
Water quantity | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Source water quality | 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Finished water quality | 0, 0, 0, 0 | 0 | 0
Public Notices | 0, 0, 0, 0, 0, 0, 0, 0 | 0 | 0
Sub Total |  |  | 0